## Combined
J.20 DC COURTS - Campus Wide- IAQ and Water Testing - BUILDING AREAS/ZONES
Moultrie Courthouse 500 Indiana Ave - Builing Size: 680,000 sq ft.
AHU - # | UV Lights Y/N | Ionization Tubes Y/N | Location | Area/Zone Coverage
(REFER TO ATTACHMENT J.21 FOR AREAS/ZONES)
410 E Street - Building C - Building Size: 44,000 sq. ft.
AHU - # | UV Lights Y/N | Ionization Tubes Y/N | Location | Area/Zone Coverage
1 | Y | Y | Basement | 1st Floor
2 | Y | Y | Penthouse | 2nd Floor
3 | Y | Y | Penthouse | 3rd Floor
B | Y | Y | Basement L100 | Basement
DOAS-1 | Y | N | Penthouse | 3rd flr Data Center
DOAS-2 | Y | N | Penthouse | 3rd flr Data Center
430 E Street - Court of Appeals - Bldg D - Building Size: 115,300 sq.ft.
AHU - # | UV Lights Y/N | Ionization Tubes Y/N | Location | Area/Zone Coverage
1 | Y | N | Attic NW | West Atrium
2 | Y | N | Attic NW | North Atrium
3 | Y | N | Attic NE | South Atrium
4 | Y | N | Attic NW | 3rd Floor Corridor South
5 | Y | N | Attic South | Library
6 | Y | N | Attic South | Courtroom 1
7 | Y | N | Attic South | Courtroom 2
8 | Y | N | Lower Level RM. 46 | North Vestibule
9 | Y | N | Lower Level RM. 46 | North Paviliion
10 | Y | N | Lower Level RM. 36 | Lobby
11 | Y | N | Lower Level RM. 31 | Ceremonial Court
12 | Y | N | Lower Level RM. 31 | Pre-Function Room
13 | N | N | Lower Level RM. 46 | Services Tunnel
14 | Y | N | Lower level Hallway by Rm 39 | Elevator Mechinical Room
OAHU-1 | Y | N | Attic NW
OAHU-2 | Y | N | Attic NE
OAHU-3 | Y | N | Attic NW
OAHU-4 | Y | N | Attic NE
510 4th Street - Building B - Building 113,000 sq.ft.
AHU - # | UV Lights Y/N | Ionization Tubes Y/N | Location | Area/Zone Coverage
1 | N | N | Penthouse | 2nd and 3rd Flrs
2 | N | N | Penthouse | 2nd and 3rd Flrs
3 | N | N | Basement | 1st Flr
4 | N | N | Basement | 1st Flr
5 | N | N | Basement | 1st Flr
6 | N | N | Basement | 1st Flr
515 5th Street - Building A - Building Size: 113,000 sq. ft.
AHU - # | UV Lights Y/N | Ionization Tubes Y/N | Location | Area/Zone Coverage
1 | N | N | Basement | 1st Flr
2 | N | N | Basement | 1st Flr
3 | N | N | Basement | 1st Flr
4 | N | N | Basement | 1st Flr
5 | N | N | Basement | 1st Flr
6 | N | N | Penthouse | 2nd and 3rd Flrs - South
7 | N | N | Penthouse | 2nd and 3rd Flrs North
8 | N | N | Basement | Crime Victim Unit